# Public Notice

# Place du Portage III - Update Fuel Tank System to Legislation – Public Comments Invited

**May 27, 2021 –** Public Services and Procurement Canada must determine whether the proposed Place du Portage III - Update Fuel Tank System to Legislation, located in Gatineau, QC is likely to cause significant adverse environmental effects.

To help inform this determination, PSPC is inviting comments from the public respecting that determination. All comments received will be considered public and may be posted online. For more information, individuals should consult the [Privacy Notice on the Registry website](https://iaac-aeic.gc.ca/050/evaluations/protection).

Written comments must be submitted **by June 26, 2021** to:

Environment, Health and Safety
2720 Riverside Drive, Ottawa, Ontario
TPSGC.RCNLVEEListedeControle-NCRECMPChecklist.PWGSC@tpsgc-pwgsc.gc.ca

## The Proposed Project

Correction of deficiencies detected in the technical report of a specialist consultant. These deficiencies are in relation to the CSA B139 code and to the SOR 2008-197 regulations and concern oil tank systems registered with Environment Canada under the numbers EC-00035938 (Tower A), EC-00003597 (Tower B), EC -00035939 (Tower C) which has a total capacity greater than 5000L and an unregistered oil tank located at Place d'Accueil. The consultant will ensure that the corrections are made so that the various systems become compliant with the codes CSA B139-2009 and CSA B139-2019, CCME 2003, construction code and safety code and SOR 2008-197 regulations.

Examples of corrective measures to be taken: repair / replace / install fittings and valves, put a tank back under vacuum, replace non-compliant containment boxes, modify the piping, confine a space, replace hoses, clean / brush / paint corroded pipes, anchor tanks; add pipe supports.